List of GUV objects generated with Mathematica Notebook BirefrObjectGenerator[month]2023.nb

with the following optical settings in mind:

Number of microlenses: 31 or 11

Pixels per microlens: 17

Number of voxels per microlens (supersampling): 1 or 3

Magnification: 60

NA of objective: 1.2

Wavelength of light: 0.55 µm

camera pixel size: 6.5 µm

refractive index of medium: water n=1.35

guv1.h5 -> guvBir[radius=3.5, membrane thickness=1, Δn=0.01]

single voxel deep slice through center of GUV, Volume shape: [1,9,9]

Additional information in: guvMay26.docx,

guv2.h5 -> guvBir[radius=3.5, membrane thickness=1, Δn=-0.01]

single voxel deep slice through center of GUV, Volume shape: [1,9,9]

Additional information in: guvMay26.docx,

guv3_GT.h5 ->guvBir[radius=6.5, membrane thickness=1, Δn=0.01]

Volume shape: [15, 61, 61]

Additional information in: guvsMay26.docx, guvsJuly12.docx, guvsJuly18.docx

guv4_GT.h5 -> guvBir[radius=9.5, membrane thickness=1, Δn=0.01]

Volume shape: [23, 91, 91]

Additional information in: guvsJuly18.docx

guv4N1_GT.h5->	guvBir[radius=9.5, membrane thickness=1, Δn=0.01]

with noise added to GUV and volume data

Volume shape: [23, 91, 91]

Additional information in: guvsJuly18.docx

guv4N2_GT.h5->	guvBir[radius=9.5, membrane thickness=1, Δn=0.01]

with (larger) noise added to GUV and volume data

Volume shape: [23, 91, 91]

Additional information in: guvsJuly18.docx

guv5_GT -> guvBir[radius=19.5, membrane thickness=3, ∆n=0.01]

Volume shape: [45, 183, 183]

guv6_GT -> guvBir[radius=18.5, membrane thickness=1, ∆n=0.01]

for guv6, everything is tripled compared to guv3, except for the membrane thickness which remains one voxel; the radius of 18.5 was chosen to make the middle of the membrane the same physical distance from the GUV center for both, guv3 and guv6.

Volume shape: [45, 183, 183]

guv7_GT -> guvBir[radius=30.5, membrane thickness=1, ∆n=0.01]

for guv7, everything is multiplied by 5 compared to guv3, except for the membrane thickness which remains one voxel; the radius of 30.5 was chosen to make the middle of the membrane the same physical distance from the GUV center as for guv3, guv6, and guv7", {75, 305, 305}}

Volume shape: [75, 305, 305]